LBT PROJECT

TECHNICAL SPECIFICATION

ENCLOSURE STRUCTURE

EMBEDDED BEAM & CIRCULAR RAIL

| Document No.: | 270e500 |
| --- | --- |
| Issue: | a |
| Date: | May 9th., 1997 |
| Prepared by: | Gianpietro Marchiori |
| Approved by: | Gianpietro Marchiori |

INDEX

1.0 SCOPE OF WORK

2.0 APPLICABLE DOCUMENTS

3.0 ITEM DESCRIPTION

3.1 Circular Rail

3.2 Embedded Beam

4.0 INTERFACE DEFINITIONS

5.0 PERFORMANCE CHARACTERISTICS

6.0 RELIABILITY, MAINTAINABILITY REQUIREMENTS

7.0 ENVIRONMENTAL CONDITIONS

8.0 DESIGN AND CONSTRUCTION REQUIREMENTS

8.1 General Dimensions and Mass

8.2 Materials

8.3 Class of Welding

8.4 General Tolerances

8.5 Thermal Treatments

8.6 Tightening Forces of Bolts and Screws

8.7 Surface Treatments

8.8 Special Manufacturing Instructions

9.0 PRE-ASSEMBLY

10.0 PACKING AND TRANSPORT

11.0 ACCEPTANCE TESTS

ANNEX A

1.0	SCOPE OF WORK

The circular rail and the relative embedded beam are the elements composing the enclosure of the LBT Project.

The aim of the LBT (Large Binocular Telescope) Project is to realise a telescope having two mirrors of 8.4 m diameter, to be installed in a rotating building at Mount Graham in Arizona (ref. dwg. No. 270e002).

The circular rail and embedded beam represent a part of the fixed structure of the telescope enclosure.

The embedded beam is the part cast into the concrete of the enclosure ring wall. The beam provides the structure to support the circular rail.

The circular rail, fixed to the embedded beam, forms the support and guide for the rotation carriages of the enclosure mobile part.

They are made up of steel structure machined elements, assembled each other by means of bolts.

The supply of the circular rail and relative embedded beam includes:

execution of all workshop drawings and Part Lists, based upon the design drawings included in the Call for Proposal;

preparation of the Manufacturing Plan;

selection and purchase of all materials, components, etc.

preparation of all procedures and methods to execute the critical operations of the manufacturing;

fabrication of all components;

fabrication and/or purchase of all tools, necessary for the manufacturing and/or assembly;

painting or surface treatment;

performance of checks and tests;

packing;

drawing up of the inspection and check documentation.

2.0	APPLICABLE DOCUMENTS

| Title | Document |
| --- | --- |

Drawings:

Circular Runway for Enclosure/Enclosure Track/General Assembly

Circular Runway for Enclosure/Enclosure Track/Rail Pieces Distribution and Details-Sector Type A

Circular Runway for Enclosure/Enclosure Track/Rail Pieces Distribution and Details-Sector Type B & C

Circular Runway for Enclosure/Enclosure Track/Rail Support Beam Pieces Distribution and Details-Sector Type A

Circular Runway for Enclosure/Enclosure Track/Rail Support Beam Pieces Distribution and Details-Sector Type B

Circular Runway for Enclosure/Enclosure Track/Base Plates on the Concrete Distribution and Details

Circular Runway for Enclosure/Enclosure Track/Rail Stop-Blocks Distribution and Details

Interface Drawings:

Circular Runway for Enclosure/Enclosure Track/Embedded Beam Solution/General Concrete Interface (sheet 1/2)

Circular Runway for Enclosure/Enclosure Track/Embedded Beam Solution/General Concrete Interface (sheet 2/2)

Circular Runway for Enclosure/Enclosure Track/Embedded Beam Solution/Wall Bracket Fastner

Circular Runway for Enclosure/Enclosure Track/Embedded Beam Solution/General Concrete Interface

Enclosure Drive Mechanisms/Bogies

Enclosure Drive Mechanisms/Plant

Enclosure Drive Mechanisms/Section

270e002

270e003

270e004

270e005

270e006

270e007

270e008

270e000

270e001

270e009

270e010

341a000

341a006

341a007

3.0	ITEM DESCRIPTION

3.1	Circular Rail

The circular rail (see dwg. No. 270e002) is made up of the following elements:

No.7 sectors type A

No.2 sectors type B

No.1 sector type C

series of bolts and accessories for the coupling of the rails sectors among them and to the embedded beam

series of accessories for the keeping at work and measurement

The circular rail is a steel structural work made up of a base plate on which is welded a rectangular rail in special steel pre-levelled.

Each element composing the circular rail is individually machined and subsequently assembled to the other sectors by means of bolts, for the verification of the general tolerances indicated in the drawings and in chapter 8.0.

The circular rail supports the axial and radial loads transmitted, through No.4 carriages (see Dwg. No. 341a000), by the enclosure mobile part in the different conditions of operation and/or storage.

3.2	Embedded Beam

The embedded beam (see Dwg. No. 270e002) is composed by the following elements:

No.8 sectors type A

No.1 sector type B

No.18 baseplates

series of bolts and accessories for the coupling among the various sectors of the beam

series of accessories for the keeping at work and measurement

The embedded beam is a steel structural work made up of plates with different thickness, cut, finished and assembled by means of welding.

After pre-machining the sectors shall be assembled each other by means of bolts, for the verification of the general tolerances indicated in the drawings and in chapter 8.0.

The embedded beam’s main function is to support and distribute on the ring wall the load transmitted by the rail, as well as to facilitate laying a level plane centered on the telescope pier.

4.0	INTERFACE DEFINITIONS

The circular rail (see dwg. No. 270e002) is interfaced with the following elements:

embedded beam/sectors type A	(dwg. No. 270e005)

embedded beam/sectors type B	(dwg. No. 270e006)

embedded beam/rail stop blocks distribution	(dwg. No. 270e008)

enclosure drive mechanisms/bogies	(dwg. No. 341a000)

The embedded beam (see Dwg. No. 270e002) is interfaced with the following elements:

general concrete interface (sheet 1/2)	(dwg. No. 270e000)

general concrete interface (sheet 2/2)	(dwg. No. 270e001)

circular rail/rail pieces distribution and details/sectors type A	(dwg. No. 270e003)

circular rail/rail pieces distribution and details/sectors type B	(dwg. No. 270e004)

circular runway/embedded beam solution/wall bracket fastener	(dwg. No. 270e009)

circular runway/embedded beam solution/general concrete interface	(dwg. No. 270e010)

All above mentioned interfaces are indicated in the drawings listed in dwg. No. 270e002.

5.0	PERFORMANCE CHARACTERISTICS

The main performance characteristics of the circular rail and relative embedded beam are the following:

They shall resist to the forces deriving from wind, seismic and the cyclic load action.

They shall assure rolling surfaces with minimal wear of the parts in contact. For this reason, for example, the materials chosen shall warranty a certain hardness degree.

The system must foresee the rail substitution and/or regulation.

During the rotation shock will be avoided on bogies wheels. A particular joint between the rail pieces shall be predisposed and filled by using mechanical resins.

6.0	RELIABILITY, MAINTAINABILITY REQUIREMENTS

The useful lifetime of the enclosure is expected to exceed 25 years.

The contractor shall take into account of all aspects which could limit the lifetime of the supply.

He shall also contain the number of maintenance interventions, supply adequate access for maintenance operations and minimise risks of damage, loss and injury to personnel and the telescope from telescope maintenance operations.

7.0	environmental conditions

This chapter defines the natural and induced environmental conditions the telescope and subassemblies will encounter during its lifetime.

Storage temperature:	-30 to +50°C

Operating temperature:	-20 to +25°C

Storage pressure:	500 to 750 Torr

Operating pressure:	500 to 600 Torr

Storage humidity:	5 to 80%

Operating humidity:	5 to 95%

Maximum operating windspeed:	80 km/h

Maximum observing windspeed:	120 km/h

Survival windspeed (shutter open):	150 km/h

Survival windspeed (shutter closed):	225 km/h (gust)

8.0	design and construction requirements

Scope of the present chapter is to introduce the main characteristics of the supply from a manufacturing point of view.

The contractor shall take care of confirming the adopted criteria or propose alternative solutions, in order to obtain the requested performances.

The contractor shall fabricate all parts, equipment, components and materials of the circular rail and embedded beam in accordance with the requirements indicated in the present Technical Specification, pertinent drawings and Tender documents.

Subsequent to fabrication, but prior to packaging the materials, the contractor shall store, at its sole expenses, all components, materials and equipment in manner that will reasonably protect such components, materials and equipment against loss or damage.

Suitable allowances for contractor and expansion during welding shall be made in the lengths of the steel parts prior to welding, so that final machined lengths are correct within the acceptance tolerances specified in this Technical Specification and relative drawings. Welding procedures shall be such that distortion and lock-up stresses are minimised. Tack welds, temporary stiffeners, tie bars, controlled peening, pre-heating and stress relieving during welding may be used for this purpose, as approved by P.O..

Surface to be welded shall be dry, clean and free from loose scale, grease, or unsuitable protective paints or coatings.

All welded parts and assemblies, unless specified or approved otherwise by P.O., shall be fully stress relieved prior to final machining operations. Stress relieving shall be accomplished by the heat treatment method in a chamber with sufficient volume and temperature capacity to fully stress-relieve the welded parts and subassemblies.

8.1	General Dimensions and Mass

The general dimensions and masses are shown in Dwgs. No. 270e002(008.

Circular Rail:

Sector type A (for every one):

Maximum dimensions:	length 7.983 mm

width 1.141 mm

thickness 180 mm

Total weight:	1.600 kg

Lifting points:	t.b.d. with the contractor

in total there are No.7 sectors.

Sector type B (for every one):

Maximum dimensions:	length 7.511 mm

width 1.058 mm

thickness 180 mm

Total weight:	1.500 kg

Lifting points:	t.b.d. with the contractor

in total there are No.2 sectors.

Sector type C (for every one):

Maximum dimensions:	length 1.128 mm

width 453 mm

thickness 180 mm

Total weight:	200 kg

Lifting points:	t.b.d. with the contractor

in total there is No.1 sector.

Embedded Beam:

Sector type A (for every one):

Maximum dimensions:	length 8.085 mm

width 1.314 mm

thickness 550 mm

Total weight:	3.500 kg

Lifting points:	t.b.d. with the contractor

in total there are No.8 sectors.

Sector type B (for every one):

Maximum dimensions:	length 8.085 mm

width 1.314 mm

thickness 550 mm

Total weight:	3.500 kg

Lifting points:	t.b.d. with the contractor

in total there is No.1 sector.

Base plates (for every one):

Maximum dimensions:	length 670 mm

width 200 mm

thickness 30 mm

Total weight:	315 kg

Lifting points:	t.b.d. with the contractor

in total there are No. 18 base plates.

8.2	Materials

The materials are indicated in the drawings and relative Part Lists.

steel plates:	Fe 510C UNI EN 10025

rail:	ASTM A517-64 “T1”

Steel plates relevant to surfaces to be further machined shall be supplied with complete Ultrasonic Examination Certificates, according to UNI EN 160/87 or ASME SA-578, acceptance standard level I.

8.3	Class of Welding

All welding operation shall conform to the standards set forth in American Welding Society Specification AWS D1.1 or equivalent approved by P.O..

Welding operations shall be performed in such a way as to guarantee the following mechanical machining in terms of tolerances, as indicated on drawings. For this purposes, welding procedures shall consider possible shrinkages or expansions during welding operation and minimise the distortion and lock-up stresses.

The contractor shall perform and provide trial welds to demonstrate the soundness of any proposed welding method, and the competence of any person performing welding work, as required by P.O. at any time.

(Butt Joints Complete Penetration:

Class I according to UNI 10011, UNI 11001 and UNI 1307/2.

NDT: X-ray or Ultrasonic examination; acceptance criteria as required for above mentioned class of welding, according to UNI 7278, or welding procedures tests according to EN 288-3.

| Welding material | electrode: | according to UNI 5132: Class IVB or according to AWS A5.1: E 7018-1 |
| --- | --- | --- |
|  | wire: | according to AWS A5.20: E 80T5/G |

(Corner or T Joints Complete Penetration:

Class II according to UNI 10011, UNI 11001 and UNI 1307/2.

NDT: X-ray or Ultrasonic examination; acceptance criteria as required for above mentioned class of welding, according to UNI 7278, or welding procedures tests according to EN 288-3.

| Welding material | electrode: | according to UNI 5132: Class IVB or according to AWS A5.1: E 7018-1 |
| --- | --- | --- |
|  | wire: | according to AWS A5.20: E 80T5/G |

(Corner or T Joints Partial Penetration:

Construction: according to UNI 10011, UNI 11001 and UNI 1307/2.

NDT: Magnaflux 60% examination, acceptance criteria category II as per UNI 7278 par.A.4.3.

| Welding material | electrode: | according to UNI 5132: Class IVB or according to AWS A5.1: E 7018-1 |
| --- | --- | --- |
|  | wire: | according to AWS A5.20: E 80T5/G |

(Circular Rail Welds:

Rail shall be welded according to the WPS reported in Annex A.

8.4	General Tolerances

For welded parts: CNR-UNI 10011 and UNI 11001.

Tolerances for linear and angular dimensions are specified on relevant drawings. These tolerances are mandatory, for structure acceptance. Where not specified, ISO 2768 part 1/f and 2/H shall be applied.

8.5	Thermal Treatments

Complete stress relieving.

Parameters: t.b.d. with the contractor.

8.6	Tightening Forces of Bolts and Screws

According to the following table:

Metric Thread

[M]

Class 8.8

[kN]

Class 10.9

| [kN] |
| --- |
| 12 | 38 | 47 |
| 14 | 52 | 64 |
| 16 | 70 | 88 |
| 18 | 86 | 108 |
| 20 | 110 | 137 |
| 22 | 136 | 170 |
| 24 | 158 | 198 |
| 27 | 206 | 257 |
| 30 | 251 | 314 |
| 33 | 310 | 388 |
| 36 | 365 | 457 |

Note:	it is important to grease the screws before tightening them.

Clamping shall be performed with hydraulic bolt tensioner

Grease advised: type OKS 200

Denomination: MoS2 grease or equivalent.

Warning: the tightening torque does not consider the bolt’s greasy effects.

8.7	Surface Treatments

All metallic surfaces, other than rating machining surfaces shall be painted, coated or otherwise permanently protected against atmospheric corrosion.

At a minimum all paints and coatings shall provide for the following functional requirements:

25 years service life

(two months continuous salt exposure during shipping)

The contractors shall utilise the following paint system in performance of the work.

sand blasting SA2.5 ISO 8501-1:1988/SS055900:1988

1 coat epoxy polyamide corrosion resistant primer (4 mils)

1 coat vinyl high-build mastic (5 mils)

The supplier can propose an alternative painting cycle; in any case this shall be able to guarantee the above mentioned requirements.

8.8	Special Manufacturing Instructions

The contractor will present, in a detailed way, the following documents:

Weldings specifications and procedures: these have to be approved by the Project Office (P.O.) prior starting the work.

Fabrication plan and control: these have to be approved by the P.O. prior starting the work.

To understand the meaning of some pre-arrangement in doc. No. 270e501 issue a is described the positioning procedure for site.

Note:	the overmetal is not indicated on the drawings. It is up to the contractor to establish it, in order to ensure the successive mechanical machining and relative tolerances. The P.O. shall be informed for approval.

9.0	PRE-ASSEMBLY

The circular rail sectors and the embedded beam sectors shall be pre-assembled to verify the total dimension and pertinent tolerances indicated in the drawings.

After disassembling for shipment, all couplings shall be opportunely locked by a pin. All special tooling required to perform the pre-assembly of the circular rail and the assembly of the rail on the mountain is considered part of this contract supply. This special tooling should be included in the shipment of the rails.

10.0	PACKING AND TRANSPORT

According to doc. No. 401e037 (Packing and Transport).

In particular, all steel structure shall be packed in such a way as to guarantee:

the degree of the physical-chemical protections against weather conditions during holding and transportations of goods;

the degree of mechanical protection for the preservation of the goods during handling and transportation to destination;

the determination of volume and weight in relation to the transportation means.

11.0	ACCEPTANCE TESTS

The contractor shall prepare and submit to the P.O. the Acceptance Test Plan.

The following tests and inspections shall be performed prior to Plant Acceptance, and shall be included in the Acceptance Test Plan:

certificate of raw material and fasteners;

certification of welding procedure and welding control;

stress relieve certification;

dimensional control, machining tolerances, roughness test;

mass check;

certificate of surface treatment;

certificate of assembly tolerances.

ANNEX A

Doc_info_start

Title: EMBEDDED BEAM & CIRCULAR RAIL

Document Type: TECHNICAL SPECIFICATION

Source: EIE

Issued by: G.MARCHIORI

Date_of_Issue: 09/05/97

Revised by:

Date_of_Revision:

Checked by:

Date_of_Check:

Accepted by:

Date_of_Acceptance:

Released by:

Date_of_Release:

File Type:MS-WORD 6

Local Name:

Category:FIXED ENCLOSURE

Sub-Category:CIRCULAR RUNWAY FOR ENCLOSURE

Assembly:ENCLOSURE TRACK

Sub-Assembly:EMBEDDED BEAM & CIRCULAR RAIL

Part Name:

CAN designation:270e500

Revision: a

Doc_info_end